SECTION 08710 SPEC

GASKETING OF DOORS AND FRAMES (6-19-02)

You may find it easier to e-mail us your specification and we will e-mail it back to you with proposed changes highlighted in yellow.  We will do this for any specification writer or architect for use on a standard specification or for use on a specific job.

The following specifications are in CSI format. You may need to change paragraph letters to coincide with your own sequence. You can copy and paste into a specification and then delete current references and manufacturerÕs names until they show evidence of compliance.  A few recommendations such as 1.04 A on substitutions are of a general nature in our recommendations.

1.02	 REFERENCES:

A.	Documents and Institutes that shall be used in estimating, detailing and installing the items specified:

1.	ANSI A117.1 - Specifications for Making Buildings and Facilities Accessible to and Usable by Physically Handicapped People.  CABO/ANSI A117.1-1999

2.	NFPA 80 - Fire Doors and Windows.  1999 Edition.

3.	NFPA 101 - Life Safety Code.  2000 Edition

4.	NFPA 105 - Installation of smoke-control door assemblies 1993 Edition

5.	Local and state building codes.

6.	UL Labeled for Rated Doors.

7.	DHI - Door and Hardware Institute.

8.	SDI - Steel Door Institute.

9.	AWI - Architectural Woodwork Institute.

10.	UBC Standard 7-1 and 7-2(1997), IBC positive pressure where applicable.

11.	UL 10 C (1998) where applicable.

12.	NFPA 252 (1999) where applicable.

1.04  	QUALITY ASSURANCE:

Substitutions:  Manufacturers and model numbers listed are to establish a standard of quality and design.  The architect must approve all product substitutions. Any request for substitutions must be submitted 10 days before bid date, to allow sufficient time for addendum to be added to the bid document.  In accordance with Section 016000, required data and physical samples must be provided.

C.	ManufacturerÕs Qualifications: To ensure and validate the proper closing, latching, sealing and securing of a door the manufacturer of gasketing shall provide a written program of Field Quality Assurance, acceptable to the architect that provides the site superintendent and installers with knowledge as to the industry acceptable standards for tolerances in manufacturing and field installation. The program shall create an audit trail of documentation for the inspection of pre-machined doors for machining and sizing, including hinge backset and depth of mortise, width and height. An ÒInstallation ChecklistÓ guideline shall also be furnished for verification of acceptability of related door, frame and hardware components prior to

PROJECT NAME   08710 (6-19-02) - 1    DOOR GASKETING, SEALS, AND THRESHOLDS

installing gasketing.  These forms shall be part of the submittal process and shall be acknowledged by the site supervisor and returned to the manufacturer on a timely basis.

Evidence shall be provided that the STC specified and/or required by local code, as well as any requirements for smoke gasketing can be maintained under industry allowable tolerances for warp (AWI) and plumb (SDI). Evidence shall be provided that the gasketing system can meet this criteria and maintain this criteria under the Field Quality Assurance Standards. See 3.03 A

D.	Qualification of Installers of the Components of Life Safety Products:

The site supervisor shall be responsible for informing each component installer, or their supervisor, of the requirements in this specification and those parts of the DHSI forms which are applicable. The site supervisor must be informed of any condition that is beyond tolerance and/or adversely affects the operating assembly.  Any conditions that are not within tolerance must be acknowledged in writing to the architect before proceeding.  The architect will inform the GC as to corrective course of action.

See Section 2.02, O, #2 for installation procedures using threshold and frame alignment brackets for proper setting of frames.

E.	Mock-ups: Unless otherwise specified by the architect

The General Contractor shall provide operating assemblies for 2 complete entry and 1 connecting room opening.

A sample of the carpet with pad or substrate, or threshold where shown, per the architectural details, shall be installed at the frame.

The opening system shall operate within the criteria and standards established.

The General Contractor shall adjust the door bottom and demonstrate express checkout procedure if a security door bottom is specified.

1.05  	DELIVERY, STORAGE AND HANDLING:

C.	Storage:

Store DHSI products in a flat, not upright condition

PART 2 - PRODUCTS:

2.01  	MANUFACTURERS:

A.	List of manufacturers represented in this section:

Door Hardware Systems Inc. Ð www.dhsi-seal.com

13 Silver Street

Rochester, New York  14611

TEL:	585-235-8543 or 800-836-8085

FAX:	585-235-0431

e-mail:	info@dhsi-seal.com

contact: Robert Rissone, President

2.02  	MATERIALS:

A.	Thresholds, Weather strip and Gasket:

2.	Interior thresholds at Guest Entry:

a.	Provide a solid color, fire rated material.  At guest entry, top of threshold shall be 1/8Ó higher than carpet height and allow the carpet to be secured within the threshold. Thresholds shall be pre-cut by the manufacturer for exact width of frame opening.  A threshold shall be used as a template to ensure proper width of frame. Thresholds shall be removed during construction and replaced prior to installing rugs. Brackets attached to the frame and within the 5/8Ó stop projection, and interlocking with the threshold, shall be furnished by the

PROJECT NAME   08710 (6-19-02) - 2    DOOR GASKETING, SEALS, AND THRESHOLDS

manufacturer at the time of setting the frame that will ensure proper frame alignment and avoid twist.  Any thresholds that do not interlock with the brackets at the time of final installation shall serve as quality assurance that the frames need to be reset properly.

1)	Provide DHSI FT 2.75 at guest entry.

2)	Provide DHSI FA/SB frame alignment /security bracket.

b.	Construction: Thresholds shall be manufactured from a composition of PVC (or equal material that complies with the following), ADA requirements for change of level, meets or exceeds ASTM E 648 Class 1 Flammability requirements. Thresholds shall incorporate a carpet acceptance cove of a minimum of 3/8" of carpet and be contoured downward from its top of level a minimum of 1/16" to the distal point of contact with the carpet so as to "grip and encapsulate" the carpet. The carpet pad shall not be part of the recess.

The overall height of the threshold shall be determined by the thickness of the pad and the carpet height and shall remain within the design parameters for ADA etc.  A manufacturer's standard threshold may be deemed compliant if the surface material  to height of threshold is accomplished by the incorporation of a shim material for raising height and/or a floor levelling surface material equal to the Johnsonite- http://johnsonite.com/products/subfloor_leveler.htm

c.	Product Performance and Technical Data:

Hardness:   		ASTM D 2240 - not less than 85 Shore A

Abrasion Resistance:	ASTM D 3389- 0.22 mg/cucle. meet or exceed ADA requirements

Slip Resistance:    	ASTM D 2047

Fire Resistance:	ASTM E 648/NFPA 253(Critical Radiant Flux) Class 1

ASTM E 662/NFPA 258 (Smoke Density)- 450 or less

3.	Connecting room details:

Provide door bottom selected and as detailed by the architect.

a. 	Provide DHSI ÒCSÓ door bottom and DHSI Connecting-2-C-04 Detail unless otherwise shown.

4.	Weather strip and Gasket:

Manufacturer shall show evidence that they can provide an STC of 30 on guest entry openings. Evidence shall be provided that this STC, as well as any requirements for smoke gasketing can be maintained under industry allowable tolerances for warp (AWI) and plumb (SDI). Evidence shall be provided that the gasketing system can meet this criteria and maintain this criteria under the Field Quality Assurance Standards.

a. 	Any opening, allowing light to pass the frame perimeter (exclusive of door bottom) shall be rejected.

b. 	Gasket that binds the door, requiring more than 15lbf to release the latch (per NFPA 101) is unacceptable.

c. 	Filing of strike plates is unacceptable. (NFPA 80)

Provide DHSI #105 ÒCush ÔNÕ SealÓ.

5.	Door Bottoms:  Where door bottom seals are to be used, as listed in the hardware sets, provide DHSI #A-MDB3, #CS-36, #FS-M-36, #FS-MN-36 or ÒSecur-A-SealÓ as selected and detailed. Where an undercut is desired at the guest entry between the bottom of the door and the flooring surface for HVAC design, provide the ÒAMUÓ option, ÒAllowance and Means for UndercutÓ and suffix the DHSI door bottom with ÒAMUÓ. If a ÒSolid Wood Lock EdgeÓ is desired on a mortise door bottom, suffix part # with ÒSWEÓ.

6.	Meeting Stile Gasket:  When an astragal is not permitted due to the operation of hardware or by code restrictions, provide a self-adhesive seal at the meeting stiles.  Provide DHSI #SA surface astragal.   Where a mortise astragal is listed provide a DHSI #A-MA adjustable mortise astragal.

7.	Where positive pressure labeling is required, surface applied intumescent, on either the door or frame is unacceptable.

PROJECT NAME   08710 (6-19-02) - 3    DOOR GASKETING, SEALS, AND THRESHOLDS

8.	Screw-on type weatherstripping on frames is unacceptable.

B.	Privacy Guards:

Provide only a product that cannot be used to hold open a fire door, automatically and quietly disengages upon the closing of the door, and is easily engaged and released.  Swing bar type products are not acceptable.

a.	Provide DHSI ÒSecur-A-LatchÓ.

PART 3 - EXECUTION:

3.01  	EXAMINATION:

A.	Examine doors, frames and related items for conditions that would prevent the proper application of any finish hardware items.  Do not proceed with installation until all defects are corrected.

B.	Forms shall be furnished by the gasketing manufacturer for inspecting related products for satisfactory tolerances before installation of doors; and for satisfactory clearances after hanging and prior to installation of gasketing products. Forms shall include industry guidelines and recommendations for inspecting and maintaining the requirements required in NFPA 80, NFPA 101, ADA and any other applicable codes. The DHSI forms must be acknowledged by the site supervisor:

ÒIndustry standards and recommended guidelines for installationÒ.

2.	ÒInstallation ChecklistÓ

3.02	INSTALLATION:

Frames shall be prepared to receive gasketing per the manufacturerÕs installation instructions and the #50 grit sand paper in order to ensure proper adhesion.  Frames not prepared properly shall be subject to rejection.  New material shall be installed at no cost to the owner and in a timely manner.

Where DHSI thresholds are specified, installer shall not further cut to width or trim the thresholds to compensate for frames set improperly.

C.         Where ÒFA/SBÓ frame alignment/security brackets are furnished, installer shall not modify threshold factory cuts if threshold does not align with brackets.

D.	See 1.05 Qualification of Site Superintendents and Qualification of Installers.

3.03  	FIELD QUALITY CONTROL:

After installation has been completed, obtain the services of a qualified hardware consultant to check for proper application of finish hardware, according to the finish hardware schedule and check all hardware for adjustment and proper operation.

B.	Inspection:

1.	Any light passing the frame perimeter shall be cause for rejection.

2.	Door shall close from 70 degrees and latch freely without latch or hinge bind.

3.	The closing speed for ADA shall not exceed 3 seconds to within 3 inches of the latch position.  Lever torque shall not exceed ADA (taken from NFPA 101 Life Safety) of 15 inch pounds.

4.	Filing of strike plates to relieve lock bind is unacceptable.

5.	The "Industry Standards and Recommended Guidelines For Installation" shall govern field inspection.

3.06  	HARDWARE SCHEDULE:

A.	Hardware items listed in the hardware sets are listed in the catalogs of the following manufacturers:

Thresholds				DHSI (DHSI)

PROJECT NAME   08710 (6-19-02) - 4    DOOR GASKETING, SEALS, AND THRESHOLDS

Weather strip				DHSI (DHSI)

Gasket					DHSI (DHSI)

NOTE:	The products listed are a guideline.  Choices of door bottoms, colors and details selected from DHSI Auto-CAD drawings will vary by job.  Several door bottoms are purposely shown in order to show different conditions.

HW-Set # to match 08710 	TYPICAL GUEST ROOM ENTRY

Each to receive:				Part #					Finish	MFG

1 EA.	LATCH GUARD			#SAL					626	DHSI

1 EA.	THRESHOLD				#FT-2.75				BLK	DHSI

2 EA.	FRAME ALIGNMENT BRACKETS	#FASB					32D	DHSI

1 EA.	MORTISE DOOR BOTTOM		#A-MDB 3-2 ÐÒSWEÓ ÐÒAMUÓ			DHSI

1 SET	GASKET				#105					DB	DHSI

NOTE: Suffix door bottom with ÒAMUÓ if required for HVAC undercut.

Where a mortise door bottom is selected, suffix ÒSWEÓ for a Òsolid wood lock edgeÓ.

HW-Set # to match 08710	 ACCESSIBLE GUEST ROOM ENTRY

Each to receive:				Part #					Finish	MFG

1 EA.	LATCH GUARD			#SAL					626	DHSI

1 EA.	THRESHOLD				#FT-2.75				BLK	DHSI

2 EA.	FRAME ALIGNMENT BRACKETS	#FASB					32D	DHSI

1 EA.	DOOR SWEEP				#CS-36					DB	DHSI

1 SET	GASKET				#105					DB	DHSI

NOTE: Suffix door bottom with ÒAMUÓ if required for HVAC undercut.

Where a mortise door bottom is selected, suffix ÒSWEÓ for a Òsolid wood lock edgeÓ.

HW-Set # to match 08710 	GUEST ROOM CONNECTING ROOM DOORS

Each to receive:				Part #					Finish	MFG

2 EA.	CONCEALED DOOR BOTTOM		#FS-M	 				OW	DHSI

2 SET	GASKET				#105					DB	DHSI

NOTE: 	Provide double carpet pad under the opening

OR      	Provide two DHSI FT 2.75 thresholds Ð see DHSI Connecting Details

NOTE:	Where a fixed mortise sweep is selected, suffix ÒNÓ for a Òsolid wood lock edgeÓ

HW-Set # to match 08710 	LAUNDRY-LINEN

Each to receive:				Part #					Finish	MFG

1 EA.	DOOR SWEEP				CS-36					DB	DHSI

1 SET	GASKET				#105					DB	DHSI

1 EA.	TRANSITION STRIP			BY FLOORING SUPPLIER

GC to coordinate appropriate flooring transition strip by flooring supplier with DHSI

DHSI will supply appropriate flooring manufacturing website product selection links and a detail for undercut requirements for Òsubmittal approvalÓ coordination between flooring manufacturer and door supplier

HW-Set # to match 08710	 STAIRWELLS

Each to receive:				Part #					Finish	MFG

1 EA.	DOOR SWEEP				CS-36					DB	DHSI

1 SET	GASKET				#105					DB	DHSI

1 EA.	Half Saddle Threshold 			#HS 2.75				BL	DHSI

Most codes are now requiring gasketing on all fire doors and all corridor doors.

CONTACT DHSI FOR A FULL LIST OF TYPICAL OPENINGS AND DETAILS

Including:

Double egress

Stairwell

Office Ð fire rated or non-fire rated

Laundry

Short 08710 GEN-04	6-18-02

PROJECT NAME   08710 (6-19-02) - 5    DOOR GASKETING, SEALS, AND THRESHOLDS